{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["工作表1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"工作表1","index":0,"n_rows":28,"n_cols":7,"rows_kept":28,"merged":[[2,2,3,6],[5,3,5,6],[8,3,8,6]],"flags":["formulas_cached_only"]}
[]
[]
[null,null,"分水LNG瓶组站扩建工程部分设备品牌明细表"]
[]
[null,null,"序号","设备名称","规格型号"," 要求品牌","备注"]
[null,null,"一","低温储罐"]
[null,null,1,"LNG低温储罐","20Nm3","山东联盟/扬州巨人/国产同档次","含差压变送器及压变"]
[{"$nulls":3},"合计"]
[null,null,"二","300Nm3/h卸车储罐增压撬"]
[null,null,1,"低温软管","DN50  5M","国产"]
[null,null,2,"低温软管","DN32  5M","国产"]
[null,null,3,"增压器","300Nm3/h","国产"]
[null,null,4,"低温长轴截止阀","DN15 PN40","飞轮/科而润/国产同档次"]
[null,null,5,"低温长轴截止阀","DN25 PN40","飞轮/科而润/国产同档次"]
[null,null,6,"低温长轴截止阀","DN32 PN40","飞轮/科而润/国产同档次"]
[null,null,7,"低温长轴截止阀","DN40 PN40","飞轮/科而润/国产同档次"]
[null,null,8,"低温长轴截止阀","DN40 PN40","RJV/海洛斯/同档次","储罐根部阀"]
[null,null,9,"低温长轴截止阀","DN25 PN40","RJV/海洛斯/同档次","储罐根部阀"]
[null,null,10,"升压调压阀","DN25 PN40","飞轮/科而润/国产同档次"]
[null,null,11,"降压调压阀","DN25 PN40","飞轮/科而润/国产同档次"]
[null,null,12,"微启安全阀","DN15 PN40","飞轮/科而润/国产同档次"]
[null,null,13,"全启安全阀","DN15 PN40","飞轮/科而润/国产同档次"]
[null,null,14,"低温仪表截止阀","DX-06","飞轮/科而润/国产同档次"]
[null,null,15,"304压力表","0-1.6Mpa","万达/同档次"]
[null,null,16,"燃气报警探头","开关量","翼捷/同档次"]
[null,null,17,"管件及成撬费",null,"安达/同档次"]
[null,null,18,"设备保冷",null,"安达/同档次"]
[{"$nulls":3},"总价合计"]